{"text_format":"3","workbook":"xls","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"external_links":1,"defined_names":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":68,"n_cols":5,"rows_kept":68,"flags":["formulas_cached_only"]}
["Enquiry","Type of Meter","To Meter Size","Service Pressure Type"]
["ENTY_CODE","METY_CODE","MESC_CODE","SVCPT_CODE","LEAD_TIME"]
["INSTALL","DIAPHRAGM","U16","LP",10]
["INSTALL","DIAPHRAGM","U25","LP",10]
["INSTALL","DIAPHRAGM","U40","LP",15]
["INSTALL","DIAPHRAGM","U65","LP",15]
["INSTALL","DIAPHRAGM","U100","LP",20]
["INSTALL","DIAPHRAGM","U160","LP",20]
["INSTALL","DIAPHRAGM",null,"LP",20]
["INSTALL","DIAPHRAGM","U16","MP",15]
["INSTALL","DIAPHRAGM","U25","MP",15]
["INSTALL","DIAPHRAGM","U40","MP",20]
["INSTALL","DIAPHRAGM","U65","MP",20]
["INSTALL","DIAPHRAGM","U100","MP",30]
["INSTALL","DIAPHRAGM","U160","MP",30]
["INSTALL","DIAPHRAGM",null,"MP",30]
["INSTALL","ROTARY",null,"LP",20]
["INSTALL","ROTARY",null,"MP",30]
["REMOVE","DIAPHRAGM","U16","LP",10]
["REMOVE","DIAPHRAGM","U25","LP",10]
["REMOVE","DIAPHRAGM","U40","LP",15]
["REMOVE","DIAPHRAGM","U65","LP",15]
["REMOVE","DIAPHRAGM","U100","LP",15]
["REMOVE","DIAPHRAGM","U160","LP",15]
["REMOVE","DIAPHRAGM",null,"LP",15]
["REMOVE","DIAPHRAGM","U16","MP",10]
["REMOVE","DIAPHRAGM","U25","MP",10]
["REMOVE","DIAPHRAGM","U40","MP",15]
["REMOVE","DIAPHRAGM","U65","MP",15]
["REMOVE","DIAPHRAGM","U100","MP",15]
["REMOVE","DIAPHRAGM","U160","MP",15]
["REMOVE","DIAPHRAGM",null,"MP",15]
["REMOVE","ROTARY",null,"LP",15]
["REMOVE","ROTARY",null,"MP",15]
["REMOVE","TURBINE",null,"LP",15]
["REMOVE","TURBINE",null,"MP",15]
["EXCHANGE","DIAPHRAGM","U25","LP",10]
["EXCHANGE","DIAPHRAGM","U40","LP",15]
["EXCHANGE","DIAPHRAGM","U65","LP",15]
["EXCHANGE","DIAPHRAGM","U100","LP",20]
["EXCHANGE","DIAPHRAGM","U160","LP",20]
["EXCHANGE","DIAPHRAGM",null,"LP",20]
["EXCHANGE","DIAPHRAGM","U25","MP",15]
["EXCHANGE","DIAPHRAGM","U40","MP",20]
["EXCHANGE","DIAPHRAGM","U65","MP",20]
["EXCHANGE","DIAPHRAGM","U100","MP",30]
["EXCHANGE","DIAPHRAGM","U160","MP",30]
["EXCHANGE","DIAPHRAGM",null,"MP",30]
["EXCHANGE","ROTARY",null,"LP",20]
["EXCHANGE","ROTARY",null,"MP",30]
["OFMAT","DIAPHRAGM","U16","LP",10]
["OFMAT","DIAPHRAGM","U25","LP",10]
["OFMAT","DIAPHRAGM","U40","LP",15]
["OFMAT","DIAPHRAGM","U65","LP",15]
["OFMAT","DIAPHRAGM","U100","LP",20]
["OFMAT","DIAPHRAGM","U160","LP",20]
["OFMAT","DIAPHRAGM",null,"LP",20]
["OFMAT","DIAPHRAGM","U16","MP",15]
["OFMAT","DIAPHRAGM","U25","MP",15]
["OFMAT","DIAPHRAGM","U40","MP",20]
["OFMAT","DIAPHRAGM","U65","MP",20]
["OFMAT","DIAPHRAGM","U100","MP",30]
["OFMAT","DIAPHRAGM","U160","MP",30]
["OFMAT","DIAPHRAGM",null,"MP",30]
["OFMAT","ROTARY",null,"LP",20]
["OFMAT","ROTARY",null,"MP",30]
["OFMAT","TURBINE",null,"LP",15]
["OFMAT","TURBINE",null,"MP",30]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}