###### Security Check-lists
###### Physical Environment
High level information security questionnaire

	Question	Y or N	Additional comment or supporting evidence
1. Security Governance
a	Is there an Information Security Policy ?
b	Is this aligned with ISO 17799?
c	Is there a documented risk assessment methodology deployed to assess security risks associated with new developments/infrastructure changes?
d	Are measures in place to provide user awareness of the policy and controls for staff working in the Data Centre?
e	Are regular security audits or penetration tests undertaken?
f	Are these internal or external? If external, give details as to type of test, third party who carried out testing, summary of results?
2.1 Physical - site
a	Does the site appear to meet security requirements given the importance of the site (consider gates, fences, site access, etc.)?
b	Is the site located away from obvious hazards, such as flooding, air strip or chemical plant?
c	Are facilities used for National Grid segregated in a separate area? IF so, how is access controlled?
2.2 Physical security - computer room
a	Is the network equipment stored within a separate computer room?
b	Is the computer room located away from water sources?
c	Is the computer room located in a difficult to get to location (ie. above ground floor and away from the site perimeter)?
d	Are measures in place to prevent equipment being visible form outside of the room.
2.3 Physical - computer room access
a	Does the room have a locked door?
b	Is there adequate control over the allocation and circulation of keys, swipe cards or other access tokens? Describe.
c	Are only certain and authorised people allowed to approve distribution of keys or swipe cards?
d	Is the list of personnel with keys or swipe cards formally reviewed on a regular basis? If so, how regularly?
e	Are cleaning staff restricted from access to the room, and supervised?
2.4 Physical - computer room envirnment
a	Does the room have a fire detection system?
b	Does the room have a fire suppression system?
c	Does the room have a flood detection system?
d	Does the room have a raised floor?
e	Does the room have a temperature and humidity monitoring system?
f	Does the room have air conditioning?
g	Does the room have CCTV?
h	Are materials that may be a fire hazard or contain hazardous material not stored inside of the computer room?
i	Are the environmental measurements monitored?
2.5 Physical - power supply
a	Does the room have power a single computer from dual, independent panels?
b	Does the room/computer have a UPS? If so, for how long?
c	Does the room have a backup power generator? If so, for how long?
d	Does the computer room have an emergency power cut off?
e	Is the site supplied by power from different sub-stations?
2.6 Physical - comms and cabling
a	Are there multiple physical telecommunication lines into the computer room that are in separate ducts?
b	Are only approved wireless LANs or other wireless devices in use at the site?
c	Is all communication equipment housed in a suitable case or cabinet?
d	Is all cabling housed in a protective covering?
e	Is all cabling cleared labelled, with appropriate hazard and warning signs?
2.8 Management
a	Are maintenance schedules on key parts of the infrastructure adhered to (consider fire suppressions system, electrical and UPS batteries, cooling equipment)?
b	Is the standard change control process used to cover changes to the infrastrcuture and configuration of firewalls, routers, etc?
c	Is all equipment monitored for faults centrally?
3. Personnel
a	Are there clear guidelines for staff on use of IT systems as part of their T&Cs, confidentiality agreements, and a disciplinary process for breach of these?
b	Is Screening of staff part of the recruitment process? If so, who does the background check?
c	Are users trained in security requirements and procedures?
d	Are there procedures for reporting security issues, risks and incidents?
e	Are the same security controls applied to contractors and consultants?
4. Change management
a	How is the change control processed managed?
b	What are the configuration management procedures for control of software versions through the build, test, and release process?
c	Procedures are in place for the control of source libraries, development tools, and developed products?
5. Operational management
a	Detailed documented operating procedures exists?
b	Is there a documented security incident response and escalation procedure?
c	Are operator duties segregated for security purposes?
d	Are any external management services or facilities employed?
e	Are software licenses recorded and controlled?
f	Up to date anti virus software is applied to all servers, desktops and laptops, and at the perimeter? If so, provide details.
g	What data and application back-up and restoration procedures exist?
h	Are system and security logs regularly reviewed?
i	What equipment disposal procedures exist?
j	Are servers and other devices patched in a timely and regular manner? If so, what tools are used?
k	What are the out-of-hours support arrangements?
6. Logical access controls
a	Is there a general policy or procedure governing network and server access rights?
b	Are there procedures in place governing the use of privileged accounts, and are records maintained of privileged users?
c	Are there procedures in place for the authorisation of users, maintenance of user records and deletion of user accounts?
d	Is there a password policy and procedure? If so, does the policy meet up with at least three of the following:
	Password minimum length of 8 characters
	Password should be a mix of alpha and numeric characters
	Password should be a mix of upper and lower case
	Password should include a special symbol
e	Passwords expire every 30 days
f	All system users shall have a unique user identifier.
g	User identifiers shall not provide any indication of the likely access facilities available to that user.
h	Following 60 days of inactivity, the access rights of any user shall be disabled.
i	Are there controls in place for access to different networks and network services?
j	Are there any user authentication techniques employed other than Passwords and IDs (eg. Token based access)
k	Is any use made of encryption or digital signatures?
l	Are staff allowed work out of the office/Data Centre e.g., from home? If so, how is remote connections made?
m	What are the controls on permitted network protocols and connection types?
n	What controls are in place governing access to software applications?
o	What are the controls to prevent unauthorised access to the network (eg. 3rd party laptop)?
p	Automatically generated system logs shall be maintained to record security incidents.
q	Event logs shall be protected from unauthorised review of their contents.
r	Event logs shall include unauthorised access attempts, all privileged user activities, access to sensitive information such as password files.
7. Network management
a	Is the Data Centre's network physically separate from the main company's network?
b	If not, is there some logical separation such as firewall? If so, please give as much detail as you can?
c	From b, is there a formal firewall rule and change management process?
d	From b, is there regular review of firewall rules?
e	From b, is there regular penetration tests of these firewalls?
f	Access by third parties shall only be authorised provided a business need has been identified.
g	Security controls will be agreed and defined in the contract with the third party.
h	Are Intruder Detection Systems (IDS) installed, and if so how are these monitored?
8. Development and maintenance
a	Is a standard project planning & development methodology used on the National Grid account?
b	Duties are suitably segregated to ensure that the opportunity for unauthorised activities is reduced.
c	Data entry, system administration, systems development/maintenance, change management and security administration are segregated.
d	Are there procedures in place to include hardware and software security requirements in specification documents?
e	Does system testing include security requirements - eg data validation, firewall functions and resilience?
f	Access to program source libraries shall be controlled in a manner that is consistent with the business risks.
g	Are there software change control processes for applications, operating systems and layered products on servers and network devices?
h	What quality records are maintained of the overall development & maintenance processes?
9. Business continuity and DR
a	Has an assessment of business continuity and disaster risks been undertaken?
b	Do business continuity plans and DR procedures exist? If so, can we have details.
c	Business continuity and DR procedures are exercised regularly? If so, how often?

###### Application Development
PROJECT:
Information Security - technical checklist - controls for web applications
		R	A	G	Notes

Administration
1.1	Appropriate user and password procedures are in place for Helpdesk	R
1.2	The system does not allow for password retrieval (i.e., passwords have to be reset)		A
1.3	The system require some form of verification before resetting a password			G
1.4	Users are educated on how to protect their account information
1.5	Navigation around the application is easy
1.6	Source code do not reveal inappropriate information
1.7	Adequate system documentation around authentication, authorisation and auditing are in place
Authentication – “who can get in?”
2.1	The system requires both a username and password
2.2	The system allows for, encourage, or enforce strong passwords (e.g., minimum 6-8 characters)
2.3	The system allows for password aging and enforce a password history (e.g., change every 30-90 days, history of 12)
2.4	The system does not permit easily-guessed usernames and passwords (e.g., password cannot equal user id)
2.5	The system does not allow the harvesting of usernames through the application
2.6	Error messages do not provide too much information about usernames or passwords
2.7	The system does not provide the last username that logged on, i.e., the user has to re-type username
2.8	Controls exists to prevent brute-force guessing of usernames or password
2.9	The source code does not contain any hard-coded username or password checks
2.10	Users cannot change their username
2.11	Users can easily change their own passwords
2.12	Users required to re-authenticate before changing a password
2.13	The system assigns temporary initial passwords that are unique and not easy to guess
2.14	There is no sharing of administrative user accounts and passwords
2.15	There is no sharing of other accounts and passwords
2.16	The system transmits user credentials over a secure channel
2.17	Passwords are stored using a strong hashing algorithm
2.18	Users cannot bypass authentication by accessing a module directly
2.19	The system does not allow authentication to the Web server's operating system or network
2.20	The system prevent account hopping (e.g., via URL)
2.21	A third party cannot trick users into authenticating to fake login pages
2.22	Users cannot customise their security options
2.23	Users cannot revoke or delete accounts
2.24	A hijacked cookie will not allow a user logon
2.25	Sensitive information such as passwords is not stored in cookies
2.26	Cookies have a reasonable expiration date
2.27	Input field validation checks have been built in
Authorisation – “what can they do?”
3.1	Users have the option to log out of their session in a controlled manner
3.2	The system destroy session tokens upon logging out or timing out
3.3	Session expiration mechanisms are in place
3.4	Users are grouped and have specific and restricted rights, privileges
3.5	Users, assignment of groups and their roles have been formally documented and approved
3.6	There are restrictions to the “back” and “forward” web buttons
3.7	The “right click” functionality of the web browser is disabled
Auditing – “what have they done?”
4.1	Users get to see their account history
4.2	Users can easily report security incidents
4.3	All user activity is logged
4.4	All key changes to system parameters and users are logged
4.5	The above key changes and any unusual events are reviewed and followed up
Availability
5.1	Number of concurrent logins is restricted
5.2	Reports, queries or processes are properly queued and prioritised and assigned appropriate resources